## Slide 1: Precise frequency sources meeting 5G holdover requirements
A. Kotyukov, A. Nikonov, Yu. Ivanov
Morion, Inc. Russia
Morion, Inc.
Saint-Petersburg, Russia
www.morion.com.ru

## Slide 2: 5G
TIE 400 ns and better
ULTRA STABLE OSCILLATOR
OCXO or Rb?
10 MHz DOCXO
Morion, Inc.
Saint-Petersburg, Russia
www.morion.com.ru

## Slide 3
Morion, Inc.
Saint-Petersburg, Russia
www.morion.com.ru
TIE causes
TIE
Frequency vs. temperature instability
AGING
Other sources of instability

## Slide 4
Design of internal stage of ovenizing
Precise reference voltage
Precise temperature of internal stage
Low load sensitivity
Morion, Inc.
Saint-Petersburg, Russia
www.morion.com.ru
Temperature stability

## Slide 5
Morion, Inc.
Saint-Petersburg, Russia
www.morion.com.ru
Temperature profile
2E-13 per 1oC

## Slide 6: Long-term stability Crystal
ISO 6 class clean room
High quality quartz
Well established manufacturing processes
“Intensive aging“
Morion, Inc.
Saint-Petersburg, Russia
www.morion.com.ru

## Slide 7: Learning systems
Compensate long-term stability in holdover mode
Very low change rate should be ≤1..2E-11/day
Long-term stability Change rate
Morion, Inc.
Saint-Petersburg, Russia
www.morion.com.ru

## Slide 8
TIE estimation
Morion, Inc.
Saint-Petersburg, Russia
www.morion.com.ru

## Slide 9
Using log fit in TIE estimation

## Slide 10
Using improved test benches

## Slide 11
Oscillators for 5G
Parameter | DOCXO |  | Rubidium oscillators | 
 | MV336 | MV360 | FE-5650A | FE-5680A
TIE per 24 hours |  |  |  | 
at constant temperature | <400 ns | <400 ns | <100 ns | <100 ns
at ±5oC daily changed temperature | <400 ns | <400 ns | <400 ns | <400 ns
Aging | ±2…7∙10-11 per day |  | ±0.4∙10-11 per day | 
 | ±10…30∙10-9 per year |  | ±0.2∙10-9 per year | 
Frequency vs temperature stability | <±0.2∙10-10 @-20…+70оС | <±0.1∙10-10 @-40…+85оС | <±1∙10-10 @ -5…+55оС | 
Allan deviation (1 sec) | <0.1∙10-12 | <2∙10-12 | <14∙10-12 | 
Power consumption: |  |  |  | 
during warm-up | <16 W | <12 W | <34 W | <36 W
steady state | <5 W | <4 W | <12 W | <15 W
Package size (mm) | 92×80×50 | 50.8×50.8×19 | 77×76×37 | 125×88×25

## Slide 12
Test results.
MV360 Frequency stability vs. temperature
Morion, Inc.
Saint-Petersburg, Russia
www.morion.com.ru

## Slide 13
TIE test results.
MV360. TIE per 24 hours at ±5oC
Morion, Inc.
Saint-Petersburg, Russia
www.morion.com.ru

## Slide 14
TIE test results.
FE-5650A. TIE per 24 hours at const temperature
Morion, Inc.
Saint-Petersburg, Russia
www.morion.com.ru

## Slide 15
TIE test results.
FE-5650A. TIE per 24 hours at ±5oC
Morion, Inc.
Saint-Petersburg, Russia
www.morion.com.ru

## Slide 16
Thanks for your attention!
Morion, Inc.
Saint-Petersburg, Russia
www.morion.com.ru